|  | RILEY AIR CONTROL SYSTEMS P L |
| --- | --- |

Access Panels

SPECIFICATION DATA

Ergonomic Sizing

The standard duct access panel sizes have been selected after careful study of the needs of site engineering and maintenance personnel. Each door allows a different degree of access, enabling the most appropriate unit to be specified, depending on the type of equipment installed in the ducting, and the likely maintenance needs.

0800	0810	0820	0830	0840

hand / sight	one hand and sight	two hands and sight	 head and shoulders	body entry plus ladder

NOTE:	These additional cam locks on model 0820 only.

|  | MODEL Nom Size A B C D E |  | 0800 200x125 203 127 241 165 30 |  | 0810 300x150 298 157 349 197 30 |  | 0820 460x250 462 258 502 298 30 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | MODEL Nom Size A B C D E |  | 0830 520x360 538 355 578 400 30 |  | 0840 635x430 640 433 679 476 30 |  |  |

Head office:	Riley Air Control Systems

3/78-80 Bellingara Road

Miranda    NSW   2228

Ph: 02 9544 8854

Fax: 02 9544 8545

A.B.N. 80 003 437 732