|  | RILEY AIR CONTROL SYSTEMS P L |  |
| --- | --- | --- |
| Access Doors SPECIFICATION DATA |  |  |
| The Access Door is a robust, insulated door pre hung in a heavy frame so that the unit is complete ready for immediate installation. Each door incorporates two sets of adjustable hinges and handles (as per table) and all external hardware is chrome plated. Standard sizes are as shown and special sizes can be made to order. |  |  |
|  |  | SPECIAL FEATURES INCLUDE - Adjustable hinges - Chrome fittings - Heavy duty rubber gasket - Inside “escape” handles - Painted finish is optional MECHANICAL FEATURES Construction - Frame is made from 2.0mm galvanised steel - mitred, welded and ground. Door bedding is of 1.2mm galvanized steel to form inside and outside skin. Insulation - 25mm thick, in bat form. Door Seal - The heavy duty gasket compresses on door closure and provides the air seal. |
| Riley Air Control Systems 3/78-80 Bellingara Road Miranda NSW 2228 A.B.N 80 003 437 732 |  |  |